## Slide 1: Requirements Verification Austin Roberts Lead Systems Engineer / LSST (AURA) NSF/DOE Joint Status Review August 28th 2019

## Slide 2: Agenda
Overall Verification Approach and Architecture
High Level Subsystem Verification Status
High Level System Verification Status

## Slide 3: Verification Planning Approach
Parallel top-down and bottoms-up verification planning ongoing
  Top-Down: System level specifications verification, performance verifications, science impacted verifications, science validation
  Bottoms-up: Vendor subsystem verification, system integration

## Slide 4: Requirement Flowdown

## Slide 5: Requirement Verification Architecture Overview

## Slide 6: Verification Architecture Realization
The verification architecture is realized by LSST’s custom Domain Specific Language which extends the SysML language.
Utilizing both MagicDraw and Jira enables Object Oriented Design best practices with the flexibility of the Jira Test Management
The Test Management for Jira
add-on enables reuse of verification
procedures.

## Slide 7: Verification Procedure Reuse Example

## Slide 8: Verification Approval Process
System Verification Team (SysVT) responsible for upfront planning
  Generation of Verification Plans
  Mapping to Verification Events (Test Cases)
  Definition of Verification Events
Sys Int. Team
SysVT
SysVT
SysVT
+ Systems Scientist
SysVT works with the Systems Scientist to Schedule activities
SysVT Reviews the results and makes the determination on the sufficiency of results
SysVT tracks verification progress
SysVT monitors verification compliance after acceptance
Sys Int. Team performs the activity and analyzes the results.

## Slide 9: Verification Workflow
Jira workflow enforces LSST’s verification process
Evaluates links from Verification tickets to Test Cases and the verification status of the Test Case
Evaluates Verification tickets verified by the verification of a lower level Verification issue
Evaluates Deviation Request tickets generated during verification and their approval status

## Slide 10: Deviations and Descope
Utilizes the existing Change Control Board concepts
If SRD requirement not met, agencies are involved
Workflow enforces process

## Slide 11: Generating Reports
2 primary reports are produced
  Test Specification (Example)
  Test Plan and Report (Example)

## Slide 12: Test Specification
This document has the function to baseline all Test Cases covering a specific project component
  Software Product
  Activity (like Science Verification)
The test cases are:
  Written in Test Manager for Jira
  Related to the Verification tickets
  Automatically traced to Requirements
The document provides the details of the Test Cases and an appendix with the traceability between Verification tickets and Test Cases

## Slide 13: Test Plan and Report
3 primary phases:
  Planning
    All information needed to start the test campaign is collected in Jira Test Plans and Test Cycles
    A draft ‘Test Plan and Report’ is produced
    Jira Test Plan status is set to Approved before the test campaign starts
  Test Execution
    The testers execute the tests following instructions in the Test Cycles
    The result of each test step is reported in Jira
  Report
    A final ‘Overall assessment’ to the test activity is given in the Jira Test Plan
    The ‘Test Plan and Report’ document is finalized and upload to Docushare

## Slide 14: Subsystem Status
As vendors complete verification of their subsystems we are integrating their verification artifacts and granted deviations into our verification architecture.
As we begin to integrate major subsystems together we will verify the interfaces using our verification architecture.
  Initial verification done during subsystem level verification (1 verification ticket for each side of the interface)
  Final verification done during Integration/Commissioning (1 verification ticket for the integrated subsystems)

## Slide 15: Hexapods & Rotators Status
(As of 8/5/2019)

## Slide 16: M2 Status
(As of 8/5/2019)

## Slide 17: M1M3 Status
(As of 8/5/2019)

## Slide 18: Coating Chamber Status
(As of 8/5/2019)

## Slide 19: Washing Station Status
(As of 8/5/2019)

## Slide 20: Camera Status
(As of 8/5/2019)
*Our analysis after JSR2018 determined the Camera should utilize their current verification architecture during verification activities at SLAC.

## Slide 21: Data Management
(As of 8/5/2019)

## Slide 22: System Level Status
Iterating on current verification activity planning
  Looking at integration and commissioning as parallel instead of serial
Developing verification procedures for planned activities
Focusing first on Science Verification and System Performance Verification planning

## Slide 23: Commissioning Science Verification Status
(As of 8/5/2019)
Science Verification Workshop

## Slide 24: Image Quality Verification Status
(As of 8/5/2019)

## Slide 25: Image Quality Test Case Example

## Slide 26: Backup

## Slide 27: Custom MagicDraw Profile

## Slide 28: Digital Thread Utilization
Utilizing Syndeia enables “Define Once, Use Everywhere” best practices.
This is often known as a “Digital Thread” connecting previously segregated models and data sources.

## Slide 29: Syndeia Data Synchronization

## Slide 30: Deviation Traceability

## Slide 31: Verification Descope Example

## Slide 32: Visualizations - Jira
Jira Dynamic Dashboard to filter tickets and generate metrics

## Slide 33: Visualizations - Syndeia
Syndeia intra-model graph queries (In-Work)

## Slide 34: Report Process and Tooling
Documents:
- Test Spec
- T. Plan&R.
Jira
Test Activity
Extraction (Manual or in Jenkins)
Git Tex Repository
Travis document build
lsst.io
ATM plugin
DocuShare
docsteady (python)

## Slide 35: Report Examples
Test Specification
ATM entry point: Test Cases Folder:
  /Data Management/Software Products/Supporting SW/Distrib Database|LDM-552
Git repository:
  github.com/lsst/LDM-552
Publication:
  LDM-552.lsst.io/v
DocuShare:
  ls.st/LDM-552
Test Plan and Report
ATM entry point: Test Plan
  LVV-P46
Git repository:
  github.com/lsst-dm/DMTR-71
lsst.io:
  DMTR-71.lsst.io/v
DocuShare:
  ls.st/DMTR-71